## Slide 1: A Roadmap for Nuclear Energy Technology
Tanju Sofu
Argonne National Laboratory
Fermilab Colloquium
June 28, 2017
Fermi National Accelerator Laboratory

## Slide 2: Beginning of the road…
Chicago Pile 1
Notes: Only 10 years after the discovery of neutron by Chadwick in 1932

## Slide 3: Beginning of the road…
Argonne’s EBR-I produces first ever nuclear generated electricity on December 20, 1951
Notes: And 9 years after Fermi’s demonstration of nuclear fission in 1942

## Slide 4: And 40+ years later…
Notes: First commercial NPPs started popping up in later 60s, merely 15+ years after EBR-I
And, in about 40 years after EBR-I, the world would have about 400 NPPs built (each a million times+ more powerful) commercially operating around the clock.
Not counting the research reactors, navy ships and submarine systems…
But it all stalled toward the end of 1980s…
Until 2010s…

## Slide 5: Outline
Global perspectives
  Rollback due to Fukushima and historically low fossil fuel prices
  New demand due to rapid urbanization
National perspectives
  Pending retirement of nuclear fleet
  DOE-NE’s vision for nuclear energy
Beyond the horizon opportunities
  Role of advanced reactors
  Sustainable fuel cycle
Notes: Past 60+ some years, we now have 400+ of these (each a million times+ more powerful) around the world, commercially running around the clock.
Not counting the research reactors, navy ships and submarine systems…

## Slide 6: Global Nuclear Energy Market
Renewed interest in nuclear energy worldwide is largely driven by:
  need to develop carbon-free energy sources, and
  rapid development of emerging economies.
  Vietnam
  Indonesia
  Turkey
  UAE
  Poland
  Demand
  Supply
  Spain
  Sweden
  Italy
  Germany
  S. Korea
  China
  Russia
  France
Restructuring
(exporters)
Growth
(import & export)
Phasing out
(D&D)
New Entries
(importers)
  U.S.
  Canada
  U.K.
  India

## Slide 7: Connection to Rapid Urbanization
Cities with a projected 2030 population of >10M
Notes: Note that Chicago is not on the map
Note the light-green colors in developed countries
Vs. large, dark green colors in developing countries

## Slide 8: Connection to Rapid Urbanization (cont.)
Trend for global urbanization is expected to continue beyond 2030
  66% of the world’s population projected to be urban by 2050
  In contrast to 30% in 1950, and 55% today
Most urbanized regions today are the population centers in North America and Europe
  82% living in urban areas in N. America and 73% in Europe
Asia and Africa are urbanizing faster than the other regions
  Projected to become 64% and 56% urban, respectively, by 2050
  India, China and Nigeria alone are expected to account for a third of the projected growth of the world’s urban population.
“2014 Revision of World Urbanization Prospects,” United Nations Department of Economic and Social Affairs Population Division, https://esa.un.org/unpd/wup/.

## Slide 9: Impact of Rapid Urbanization
Concentrated population centers require base-load power
  Limited role for distributed renewable energy sources in urban areas
As the world continues to urbanize, sustainability challenges will be increasingly concentrated in developing countries
  Energy need outpace population growth, adding to the increased demand for energy and pollution concerns
OECD International Energy Agency’s 2DS study* suggests that the current global nuclear capacity needs to more than doubled by 2050
  An increase in global share of nuclear electricity from 11% to 18% during the same period
*Energy system deployment pathway for at least a 50% chance of limiting average global temperature increase to 2oC by considering a 60% reduction in CO2 emissions by 2050.
Future use of nuclear energy  Global population growth & urbanization

## Slide 10: U.S. National Picture
In the U.S., current nuclear fleet of ~100 plants generates about 20 percent of the nation’s annual electricity.

## Slide 11: U.S. National Picture (cont.)
~100 nuclear power plants generate 800 million megawatt-hours of energy, representing over 60 percent of the nation’s emissions-free electricity.
Current U.S. nuclear generation represents 500 million tons of avoided carbon emissions
  As a reference, the EPA Clean Power Plan is designed to reduce carbon emissions by 750 million tons by 2030

## Slide 12: U.S. Nuclear Fleet
The U.S. fleet is based on light-water reactor technology which is a direct descendant from the U.S. Navy propulsion program.
  It is the oldest operating nuclear plant fleet in the world and retirements begin around 2030.
Notes: Throughout 70s, on average 5 NPPs were coming online each year…
What happened in 1979?
The trend in China is very similar to 1970-80 period in the U.S.

## Slide 13: U.S. Nuclear Cliff
Planned decommissioning of the existing plants pose a “retirement cliff”
  Already started
Notes: Note that license renewals do not assure full-life operation (old car analogy).

## Slide 14: U.S. Nuclear Cliff (cont.)
Replacement of nuclear fleet with natural gas or coal fired plants will have a large economic, environmental, and climate change impact
Gas
Coal
Hydro
Wind
Solar
New Nuclear

## Slide 15: Decarbonization of Electricity Production
Notes: Emission from NG is 48% of the emission from Coal

## Slide 16: Decarbonization of Electricity Production (cont.)
Several energy sector scenarios* project 1.6-2.4% increase in contributions from nuclear to meet 80% greenhouse-gas reduction goal by 2040
*DOE’s Office of Energy Policy and Systems Analysis (EPSA) Low-Carbon Energy Futures Workshop (January 2016)

## Slide 17: Department of Energy Vision for U.S. Nuclear

## Slide 18: Four Generations of Nuclear Reactor Designs
Notes: Differentiate “light” vs. “heavy” water

## Slide 19: Status of New Builds in U.S.
Gen-III+ designs are an evolutionary step in large water-cooled reactor technology
First new reactors being built in U.S. in 30 years
  Watts Bar: 2015
  Vogtle: Late 2017
  V.C. Summer: 2018-2020
Water-cooled SMR technologies are also of some interest
  Passive decay heat removal by natural circulation
  Simplified design, below grade siting
  Potential for reduction in EPZ
  Reduced financial risk (flexibility to add units, right size for cool replacement)

## Slide 20: Advanced Reactor Concepts
Advanced reactor concepts under consideration aim for more drastic improvements over existing and evolutionary water-cooled reactors:
  Safety
  Reliability
  Sustainability
  Economics
  Non-proliferation
Six Generation-IV systems are considered internationally:
  Sodium-cooled Fast Reactor (SFR)
  High Temperature Gas-cooled Reactor (HTGR, aka VHTR)
  Lead- or Lead-Bismuth-cooled Fast Reactor (LFR)
  Gas-cooled Fast Reactor (GFR)
  Molten Salt Reactor (MSR)
  Super-Critical Water-cooled Reactor (SCWR)

## Slide 21: Advanced Reactor Concepts (cont.)

## Slide 22: U.S. Commercial Advanced Reactor Designs
Over 30 advanced reactor designs are currently being pursued in the U.S.
Sodium-cooled Fast Reactor
  TerraPower, General Electric, ARC Nuclear, Oklo
High Temperature Gas-cooled Reactor
  X-Energy, AREVA, Hybrid Energy, Ultra Safe
Molten Salt Reactor
  Transatomic Power, Terrestrial Energy, Thorcon, Elysium, FLIBE Energy, TerraPower, Kairos Power
Lead- or LBE-cooled Fast Reactor
  Westinghouse, Gen-IV Energy, Lake-Chime, Hydromine
Gas-cooled Fast Reactor
  General Atomics

## Slide 23: U.S. Commercial Advanced Reactor Designs (cont.)
DOE-NE GAIN Initiative 2017 Voucher Recipients—
announced just this week

## Slide 24: Reality Check!
Current energy market leads to diminishing domestic opportunities:
  Low natural gas cost
  State and federal mandates for direct and indirect subsidies for renewables
  Competitive electricity markets
  Lack of a permanent repository or fuel cycle program for high-level nuclear waste
What’s at stake? Risk of losing an industry of strategic importance and potential
  To address the environmental and future energy security needs
To avoid it, a national strategy is needed to reverse the U.S. nuclear industry’s anticipated decline and expand opportunities abroad

## Slide 25: Opportunities
Outlook is different in the developing countries with rapidly growing urban centers
  Meeting a significant portion of this worldwide demand for energy with nuclear technology has obvious trade, employment, and environmental benefits
  Also non-proliferation arguments against the global nuclear energy infrastructure being dominated by countries with less proven records
U.S. leadership in the nuclear industry can be best established via expanded support for advanced reactor concepts
  Deployment of advanced reactors at military bases and government facilities can be pursued to provide limited “first mover” financial incentives
  Bolster the basis for advanced reactor and fuel cycle technologies with improved safety, resource utilization and fuel cycle advantages
Collaboration among government and industry to form new public-private partnership models
  Promote policies that ensure reduced regulatory uncertainty for the advanced reactor concepts

## Slide 26: Summary and Conclusions
Pending “retirement cliff” of existing U.S. nuclear fleet representing over 60 percent of the nation’s emission-free electricity pose a large economic, environmental, and climate change impact.
To meet the challenge, DOE has developed the Vision and Strategy for Development and Deployment of Advanced Reactors
  http://energy.gov/ne/downloads/draft-vision-andstrategy-development-and-deployment-advanced-reactors
DOE vision is
  Support the current Light Water Reactor fleet
  Pursue the construction/operation of Generation III+ reactors
  Support the development/licensing/deployment of Small Modular Reactors
  Support design/licensing/deployment of advanced (non-LWR) Gen-IV reactors
Among the spectrum of advanced reactors, closed-fuel-cycle systems using reactors with fast-neutron spectrum especially to meet the sustainability goals offer attractive options.